SECTION 07 41 13 – METAL ROOFS & METAL WALL PANELS

SECTION 07 42 13 - PREFORMED METAL WALL PANELS

Items noted (in parenthesis and italic text) are optional

or variable depending on individual job conditions.

PART 1 - GENERAL

1.1 Section Includes

- Furnish all preformed aluminum metal wall panels and accessories, in accordance with the contract drawings and details to insure a weathertight system. Metal panel supplier shall be responsible for the design of the wall panel system, including, but not limited to, the anchorage details, sealant recommendations, extrusions, flashings, and expansion/contraction provisions for wall panel system.

1.2 Related Sections

Not included as work or materials furnished in this section:

- Structural Steel, Section 05 _______.

- Light Gauge Metal Framing, Section 05 _______.

- Miscellaneous Metals, Section 05 _______.

- Insulation, Section 07 _______.

- Metal Siding Panels, Section 07 _______.

- Flashing and Sheet Metal, except as specifically noted herein, Section 07 ____.

- Sealant, Section 09 _______.

1.3 References

- The manufacturer will be a firm regularly engaged in the fabrication of custom aluminum plate metal wall panel systems with a minimum of 5 years experience in the production of systems as specified herein.

- The name of the manufacturer and/or installer must specifically be listed by the general contractor at the time of submission of the bid.

- No bidder of the metal wall panel system will be accepted without the prior written approval of the architect based on submission of a mock-up illustrating the significant conditions of the project.

  - Scope of the mock-up must be closely coordinated with the architect.

  - Written approval of all bidders fulfilling these requirements shall be so noted by addendum.

1.4 Submittals

- Submit copies of manufacturer's standard guide specifications, standard detail drawings and installation procedures.

- Submit certified test reports verifying the performance requirements.

- Submit shop drawings showing small scale layout and elevations of the total project.  Details shall include attachment to the support system, horizontal and vertical joints and their intersection, trim flashings, and all accessories.  Show details of weatherproofing at edges, termination, penetrations and connections to adjacent materials.

- Submit product samples as directed by the project architect representative of materials to be furnished.

1.5 Quality Assurance

- The installer shall be an experienced installation firm acceptable to the panel manufacturer. Written approval of any subcontract installer must be received by the architect prior to the installation of any materials.

- Any reference to specific manufacturers is not intended to restrict bidding but rather to establish a minimum standard of quality and offer clarification of panel profiles.  Manufacturers not listed must obtain the written approval of the architect a minimum of 7 days prior to the bid.  Such request for approval must be in accordance with paragraph 1.3 of this section and the general conditions.

- Structural designs shall meet standard design loading shall be 20 pounds per square foot as a positive and negative wind load and a deflection limit of L/180

- Water penetration of panel assembly when subjected to a water spray of five gallons per square foot and a static pressure of 6.24 PSF shall have no uncontrollable water on the inside surface of the building.

- Air infiltration of the panel assembly shall not exceed .06 cubic feet per minute per square foot of wall area at a pressure differential of 6.24 PSF.

- Panels shall have a flatness criteria not to exceed 0.1875" in 24" in any direction.  Using a straight edge, no point shall be more that 0.1875" away from the straight edge between two points of contact.

Normal dimensional tolerances shall be as follows:

  - Length		+/- 0.032" up to 48"

  - Width 		+/- 0.064" over 48"

  - Diagonal		+/- 0.1875"

1.7 Project Conditions

- Field Measurements Verify actual supporting and adjoining construction by field measurements before fabrication, and indicate recorded measurements on final shop drawings.  Coordinate construction to ensure that Metal Panels fit properly to supporting and adjoining construction and coordinate schedule with construction progress to avoid delaying the work.

- Established dimensions:  where field measurements can not be made without delaying the work, guaranteed dimensions shall be provided to manufacturer to proceed with fabrication of Metal Panels corresponding to the established dimensions.

PART 2 - PRODUCTS

2.1 Manufacturer

- Manufacturers: Subject to compliance with requirements, provide products manufactured by:

  - Alumafab Metal Sales, LLC Burnsville, MN.  www.alumafab.com,

Phone: (952)895-5700 Toll Free (800)544-2488 Fax: (952)895-1500

The entire panel system shall be installed in accordance with the details illustrated on the contract drawings.  The vertical and horizontal joints shall be sealed through the use of exposed sealants as indicated.  The panels shall be positively attached to the building structure or subframe with concealed clips or tabs on the panel edges.

- AP-1000 – Aluminum Plate Panels

- Alternate systems by other manufacturers/fabricators are to be submitted to the architect not less than 7 working days prior bid.

2.2 Panel Assembly

  - The basic panel shall consist of custom fabricated, solid aluminum plate, in thicknesses, lengths, widths and finish as illustrated on the contract drawings.

  - The panel assembly shall be manufactured from .125" (minimum) aluminum plate tension leveled sheets in a smooth texture, confirming to ASTM B209, 3003 alloy, H14 temper.

  - All panel corners shall be welded and ground smooth prior to application of finish.

  - Aluminum stiffeners shall be preattached to the panel assembly as required by design calculations to insure panel flatness and conformance with design loads as required.

2.3 Finish

- Exterior surfaces of the metal panels shall be a fluoropolymer coating utilizing 70% KYNAR 500 resins with a total nominal dry film thickness of 1.0 mil.  Finish shall be applied in accordance with industry standards.

(For alternate finishes or more detailed specifications, refer to separate guide specification for insertion at this point.)

- One manufacturer's standard (custom) color shall be selected by the architect.

- All exposed surfaces shall be protected with a strippable coating.

- The strippable coating shall be compatible with the exterior finish.

- The strippable coating shall be removed by the erector immediately upon installation of the panels.

2.4 Accessories

- Fasteners

- All panels shall be positively attached to the structure through the use of concealed fasteners contained within the side joint of the assembly.

- No exposed fasteners will be accepted, unless noted otherwise.

- Fastener types and sizes shall be designed to resist negative & positive wind loads.

- Extrusions

- All extrusions noted in the contract documents as part of this section shall be fabricated as detailed.  Extruded components shall include but are not necessarily limited to; panel stiffeners, extruded trim, and panel edge assembly.

- Where exposed to view, extrusions shall be finished to match the exterior skin.

- The alloy of the extrusions should be determined by its intended use.  Such factors as corrosion resistance, machinability, formability, strength and weldability should be considered.

- Flashings

- All flashings noted in the contract documents as part of this section shall be fabricated as detailed from materials matching the specifications for the face materials, unless noted otherwise.

- All flashings and extruded trim will be fabricated in 10'-0" or 12'- 0" lengths unless otherwise noted.  All inside and outside corner intersections shall be field mitered from standard flashing or extrusion lengths.

- Sealants

- All sealants shall be in accordance with the latest ASTM standards and shall comply with the sealant specifications of the contract documents.

- Subgirts & Clips

- Subgirts and clips shall be furnished as part of the scope of this work as noted on the contract drawings and as required to provide a complete wall panel assembly.

PART 3 - EXECUTION

3.1 Examination

- Coordinate setting drawings, diagrams, templates, instructions, and directions for installation.

- Substructure shall be structurally sound and shall be free of defects detrimental to work and erected in accordance with established building tolerances.

3.2 Installation

- Comply with panel manufacturer's instruction for installation and erection of preformed metal panels.  Install in accordance with approved shop drawings.

- Anchor component parts securely in place, providing for necessary thermal and structural movement.

- Examine structure and surfaces for defects that would prevent proper installation of the wall system.  Report any discrepancies to the architect and contractor.  Do not proceed until the remedial work has been completed.

- All fasteners shall be installed in accordance with the materials specification above.

- Erection of the panels must be started correctly and the panels held true to line. Horizontal lines are to be straight and level and vertical lines plumb. Tolerance to be +/- 1/8" in 10 feet.

- Isolate dissimilar materials in accordance with acceptable industry practices and as recommended by panel manufacturer.

3.3 Cleaning

- Clean exterior exposed surfaces of work promptly after completion of installation.  Comply with recommendations of panel and coating manufacturer.

3.4 Damaged Panels

- Repair or replace any and all metal panels and trim that have been damaged upon determination of responsibility.

ALTERNATE SPECIFICATION OPTIONS

At specifier's option, the following alternatives may

be selected in lieu of the above standard options.

1. For most applications, Alumafab recommends the use of .125" aluminum plate, however alternate material thickness' are also available.  If an alternate material thickness is preferred:

*Delete the word ".125" " in paragraph 2.2/B and substitute ".090" " or ".1875" ".

2. The above specifications are for materials, which are coated with KYNAR or some other type of paint finish.  If the materials are to be anodized, make the modifications noted below.  Specifier should be aware that the welded corners and other areas of the panel will accept the anodized finish differently that the aluminum plate.

*Delete the words "3003 alloy, H14 temper"" in paragraph 2.2/B and substitute "5005 AQ alloy, H32 temper."

*Delete paragraph 2.3/ A and B and substitute the separate guide specification folowing.

- Class I, Clear Anodic Finish: AA-M12C22A41 (Mechanical finish: nonspecular as fabricated; Chemical Finish: etched, medium matte; Anodic Coating: Architectural   Class I, clear coating 0.018 mm or thicker) complying with AAMA 607.1.

Or

- Class I, Color Anodic Finish: AA-M12C22A42/A44 (Mechanical finish: nonspecular as fabricated; Chemical Finish: etched, medium matte; Anodic Coating: Architectural Class I integrally colored or electrolytically deposited color coating 0.018 mm or thicker) complying with AAMA 606.1 or AAMA 608.1.

- Color: As selected by Architect from the full range of industry colors and color densities.

- Color: Match Architect’s sample.